## MasterSiteList
Site
CAR-007
CAR-059
CAR-059G
CAR-070
CAR-070E
CAR-072
CAR-072C
CAR-072R
CAR-072O
CAR-072Q
SDG-072
SDG-072A
SDG-084
SDG-084J
SDG-085
SDG-085G
SDG-085M
SDR-036
SDR-041
SDR-064
SDR-064A
SDR-064B
SDR-064C
SDR-064D
SDR-098
SDR-127
SDR-127B
SDR-130
SDR-203A
SDR-204A
SLR-095
SLR-045
SLR-045A
SLR-045B
SWT-019
SWT-030
SWT-030I
SWT-068
SWT-162
SWT-233
SWT-235

## ClipBadData
Site | Start | End | Reason | Notes | Analyst
CAR-059 | 2020-05-10 09:00 | 2020-05-10 17:00 | Storm | from CAR-059G | AM
CAR-059G | 2020-05-10 09:00 | 2020-05-10 17:00 | Storm | suspected-no camera at site. big conductivity drop and rain around same time | AM
CAR-070 | 2020-05-12 20:30 | 2020-05-13 15:45 | Storm | Doesn't look like it impacted flow but there is a small peak so clip it. Peak observed upstream with drop in conductivity | AM
CAR-070E | 2020-05-12 20:30 | 2020-05-13 15:45 | Storm | storm followed by obstruction | AM
CAR-072 | 2020-05-03 08:15 | 2020-05-03 12:10 | Obstruction | confirmed by photos | AM
CAR-072 | 2020-05-11 10:10 | 2020-05-12 01:10 | Obstruction | confirmed by photos | AM
CAR-072 | 2020-05-12 06:10 | 2020-05-12 18:10 | Obstruction | confirmed by photos | AM
CAR-072 | 2020-05-14 04:15 | 2020-05-14 16:00 | Obstruction | confirmed by photos | AM
CAR-072 | 2020-05-15 04:15 | 2020-05-15 14:00 | Obstruction | confirmed by photos | AM
CAR-072 | 2020-05-16 16:15 | 2020-05-16 23:15 | Obstruction | confirmed by photos | AM
CAR-072 | 2020-05-25 07:15 | 2020-05-26 18:00 | Obstruction | confirmed by photos | AM
CAR-072 | 2020-05-26 22:00 | 2020-05-27 02:10 | Obstruction | confirmed by photos | AM
CAR-072C | 2020-05-03 01:50 | 2020-05-05 20:00 | Obstruction | suspected-no camera at site | AM
CAR-072C | 2020-05-10 02:00 | 2020-05-11 03:30 | Obstruction | suspected-no camera at site | AM
CAR-072C | 2020-05-12 03:05 | 2020-05-13 13:35 | Obstruction | obstruction removed by field crew | AM
CAR-072C | 2020-05-17 02:30 | 2020-05-22 12:55 | Obstruction | obstruction removed by field crew | AM
CAR-072C | 2020-05-24 02:05 | 2020-05-27 11:10 | Obstruction | obstruction removed by field crew | AM
CAR-072C | 2020-05-28 05:45 | 2020-05-29 05:25 | Obstruction | suspected-no camera at site | AM
CAR-072Q | 2020-05-01 | 2020-05-15 14:35 | Invalid | bad probe connection. no data | AM
CAR-072R | 2020-05-01 | 2020-05-07 13:00 | Invalid | crack in pipe behind the pond so it was leaking. took a few attempts to patch | AM
SDG-072 | 2020-05-12 18:35 | 2020-05-13 06:00 | Storm | rain data but only small drop in conductivity. small increase in flow so just small event | AM
SDG-072 | 2020-05-18 22:55 | 2020-05-19 02:00 | Storm | rain data the day before but big drop in conductivity so very likely stormflow | AM
SDG-072 | 2020-05-22 16:40 | 2020-05-23 21:40 | Obstruction | confirmed by photos | AM
SDG-072 | 2020-05-24 10:40 | 2020-05-24 17:40 | Obstruction | confirmed by photos | AM
SDG-072 | 2020-05-25 15:40 | 2020-05-26 21:40 | Obstruction | confirmed by photos | AM
SDG-072 | 2020-05-28 04:40 | 2020-05-28 14:10 | Obstruction | confirmed by photos | AM
SDG-072A | 2020-05-12 18:35 | 2020-05-13 06:00 | Storm | same as SDG-072 | AM
SDG-072A | 2020-05-18 22:55 | 2020-05-19 02:00 | Storm | same as SDG-072 | AM
SDG-084 | 2020-05-01 20:00 | 2020-05-05 11:45 | Obstruction | no photo but looks obvious and was removed by field crew | AM
SDG-084 | 2020-05-06 21:30 | 2020-05-08 09:50 | Obstruction | no photo but looks obvious and was removed by field crew | AM
SDG-084 | 2020-05-11 22:30 | 2020-05-12 13:25 | Obstruction | no photo but looks obvious and was removed by field crew | AM
SDG-084 | 2020-05-13 21:00 | 2020-05-14 06:00 | Storm | hard to tell if this was just elevated flow but there was rain on that day so I clipped it | AM
SDG-084 | 2020-05-18 22:45 | 2020-05-19 00:15 | Storm | previous rain data and big drop in conductivity | AM
SDG-085 | 2020-05-01 | 2020-05-04 19:30 | Obstruction | not confirmed by photos but looks like an obstruction | AM
SDG-085 | 2020-05-13 21:00 | 2020-05-14 06:00 | Storm | rain data but not very much flow | AM
SDG-085 | 2020-05-14 23:25 | 2020-05-16 01:25 | Obstruction | confirmed by photos | AM
SDG-085 | 2020-05-17 22:25 | 2020-05-18 22:45 | Obstruction | confirmed by photos | AM
SDG-085 | 2020-05-18 22:45 | 2020-05-19 02:00 | Storm | looks like maybe obstructed and storm cleared it out. definite stormflow and overtopping | AM
SDG-085 | 2020-05-21 23:45 | 2020-05-23 20:45 | Obstruction | confirmed by photos | AM
SDG-085 | 2020-05-25 20:15 | 2020-05-27 02:00 | Obstruction | confirmed by photos | AM
SDG-085 | 2020-05-30 20:00 | 2020-05-31 16:30 | Obstruction | confirmed by photos | AM
SDG-085G | 2020-05-12 23:00 | 2020-05-13 02:00 | Storm | rain data | AM
SDG-085G | 2020-05-18 22:45 | 2020-05-19 02:00 | Storm | rain data | AM
SDG-085M | 2020-05-13 11:20 | 2020-05-13 11:20 | Invalid | level spiked when we plugged in USB | AM
SDR-036 | 2020-05-19 05:15 | 2020-05-19 07:15 | Storm | no rain data but drop in conductivity and huge flow | AM
SDR-041 | 2020-05-09 17:55 | 2020-05-11 03:50 | Obstruction | confirmed by photos | AM
SDR-041 | 2020-05-22 09:00 | 2020-05-23 19:00 | Invalid | confirmed by photos | AM
SDR-064 | 2020-05-09 17:30 | 2020-05-09 20:00 | Storm | confirmed by photos | AM
SDR-064A | 2020-05-01 | 2020-05-04 14:50 | Invalid | leaking weir | AM
SDR-064A | 2020-05-09 17:30 | 2020-05-09 20:00 | Storm | suspected-no camera at site | AM
SDR-064B | 2020-05-09 17:30 | 2020-05-09 20:00 | Storm | suspected-no camera at site | AM
SDR-064C | 2020-05-01 | 2020-05-15 12:15 | Invalid | logger failed to upload to Zentra cloud. logger was replaced 5/15 | AM
SDR-064C | 2020-05-09 17:30 | 2020-05-09 20:00 | Storm | suspected-no camera at site | AM
SDR-064D | 2020-05-01 | 2020-05-04 15:00 | Invalid | leaking weir | AM
SDR-064D | 2020-05-09 17:30 | 2020-05-09 20:00 | Storm | suspected-no camera at site | AM
SDR-064D | 2020-05-11 12:00 | 2020-06-01 | Invalid | flows just seem way too high to be possible. looks like the probe went bad after the small storm event | AM
SDR-098 | 2020-05-09 18:15 | 2020-05-09 19:45 | Storm | rain is later in the day but big drop in conductivity and big flow spike | AM
SDR-098 | 2020-05-13 02:50 | 2020-05-13 05:00 | Storm | drop in conductivity and rain near time of peak | AM
SDR-098 | 2020-05-23 11:40 | 2020-05-24 00:35 | Obstruction | confirmed by photos | AM
SDR-127 | 2020-05-04 17:00 | 2020-05-04 23:55 | Obstruction | confirmed by photos | AM
SDR-127 | 2020-05-08 15:00 | 2020-05-08 22:00 | Obstruction | confirmed by photos | AM
SDR-127 | 2020-05-12 22:00 | 2020-05-13 14:00 | Obstruction | confirmed by photos | AM
SDR-127 | 2020-05-13 02:00 | 2020-05-13 10:00 | Storm | rain data and drop in conductivity | AM
SDR-127 | 2020-05-16 10:00 | 2020-05-18 06:00 | Obstruction | confirmed by photos | AM
SDR-127 | 2020-05-18 13:00 | 2020-05-20 20:00 | Obstruction | seems like a high flow anyway but lots of debris so can't use it | AM
SDR-127B | 2020-05-13 02:00 | 2020-05-13 10:00 | Storm | rain data and drop in conductivity | AM
SDR-130 | 2020-05-26 11:35 | 2020-05-26 15:00 | Invalid | weir repaired and cut v lower | AM
SDR-203A | 2020-05-08 10:25 | 2020-05-08 10:25 | Invalid | moving probes to correct ports | AM
SDR-203A | 2020-05-13 02:00 | 2020-05-13 05:00 | Storm | coincident with rain data | AM
SDR-203A | 2020-05-15 18:30 | 2020-05-20 14:40 | Invalid | breakaway was popped open | AM
SDR-204A | 2020-05-08 10:25 | 2020-05-08 10:25 | Invalid | moving probes to correct ports | AM
SLR-045 | 2020-05-05 13:00 | 2020-05-05 20:00 | Obstruction | confirmed by photos | AM
SLR-045 | 2020-05-17 13:55 | 2020-05-18 04:00 | Obstruction | confirmed by photos | AM
SLR-045 | 2020-05-25 11:00 | 2020-05-27 10:55 | Obstruction | confirmed by photos | AM
SLR-095 | 2020-05-01 | 2020-05-29 18:15 | Invalid | Bad probe, water filled around vent most likely | AM
SWT-019 | 2020-05-07 11:50 | 2020-05-07 12:25 | Invalid | maintenance. probe removed | AM
SWT-019 | 2020-05-21 12:00 | 2020-05-21 17:00 | Invalid | maintenace. shoveled out sed | AM
SWT-068 | 2020-05-04 14:00 | 2020-05-07 15:00 | Obstruction | confirmed by photos | AM
SWT-068 | 2020-05-24 14:40 | 2020-05-25 03:40 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-05-07 17:45 | 2020-05-08 16:55 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-05-10 19:00 | 2020-05-11 22:30 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-05-12 07:45 | 2020-05-12 16:45 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-05-13 05:50 | 2020-05-14 12:45 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-05-15 22:50 | 2020-05-16 05:00 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-05-22 02:50 | 2020-05-27 11:45 | Obstruction | confirmed by photos | AM
SWT-233 | 2020-05-01 | 2020-05-07 13:30 | Invalid | probe on wrong side of plate | AM
SWT-233 | 2020-05-08 01:20 | 2020-05-09 15:20 | Obstruction | confirmed by photos | AM
SWT-233 | 2020-05-12 21:50 | 2020-05-13 12:20 | Storm | rain data is a few hours after this but looks like a big storm flow. there was debris in the v before the flow but seems like it just got washed out | AM
SWT-233 | 2020-05-13 12:25 | 2020-05-18 18:20 | Obstruction | confirmed by photos | AM
SWT-235 | 2020-05-12 16:00 | 2020-05-12 22:00 | Storm | rain on gauge and drop in conductivity | AM
CAR-007 | 2020-06-29 03:30 | 2020-06-29 12:00 | Storm |  | AM
CAR-007 | 2020-06-06 05:00 | 2020-06-06 21:00 | Storm | no rain on gauge but nearby gauges had rain | AM
CAR-059 | 2020-06-29 02:00 | 2020-06-30 12:00 | Storm |  | AM
CAR-059G | 2020-06-29 03:00 | 2020-06-29 09:00 | Storm | rain gauge | AM
CAR-070 | 2020-06-29 03:00 | 2020-06-29 14:00 | Storm |  | AM
CAR-070 | 2020-06-04 21:00 | 2020-06-05 14:00 | Storm |  | AM
CAR-070E | 2020-06-04 19:00 | 2020-06-05 14:00 | Storm |  | AM
CAR-070E | 2020-06-29 03:00 | 2020-06-29 14:00 | Storm |  | AM
CAR-070E | 2020-06-24 16:00 | 2020-06-25 12:10 | Obstruction | obstruction removed by field crew | AM
CAR-072 | 2020-06-04 19:00 | 2020-06-05 14:00 | Storm |  | AM
CAR-072 | 2020-06-29 03:00 | 2020-06-29 14:00 | Storm |  | AM
CAR-072C | 2020-06-29 03:00 | 2020-06-29 14:00 | Storm |  | AM
CAR-072C | 2020-06-04 19:00 | 2020-06-05 14:00 | Storm |  | AM
CAR-072R | 2020-06-29 03:00 | 2020-06-29 14:00 | Storm |  | AM
CAR-072R | 2020-06-04 19:00 | 2020-06-05 14:00 | Storm |  | AM
CAR-072O | 2020-06-29 03:00 | 2020-06-29 14:00 | Storm |  | AM
CAR-072O | 2020-06-04 19:00 | 2020-06-05 14:00 | Storm |  | AM
CAR-072Q | 2020-06-29 03:00 | 2020-06-29 14:00 | Storm |  | AM
CAR-072Q | 2020-06-04 19:00 | 2020-06-05 14:00 | Storm |  | AM
CAR-072Q | 2020-06-10 14:50 | 2020-06-10 16:05 | Invalid | obstruction removed by field crew | AM
SDG-072 | 2020-06-21 03:50 | 2020-06-21 13:45 | Invalid | confirmed by photos, creek backed up downstream and submerged weir | AM
SDG-072 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDG-072A | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDG-084 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDG-084J | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDG-084 | 2020-06-12 06:00 | 2020-06-23 14:15 | Invalid |  | AM
SDG-085 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDG-085G | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDG-085M | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-036 | 2020-06-06 05:50 | 2020-06-06 11:30 | Storm |  | AM
SDR-036 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm | No rain data on gauge but big flow and drop in conductivity | AM
SDR-041 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-041 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-064 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-064 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-064A | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-064A | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-064B | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-064B | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-064C | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-064C | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-064D | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-064D | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-098 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-098 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-098 | 2020-06-21 13:00 | 2020-06-23 17:20 | Invalid |  | AM
SDR-127 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-127 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-127B | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-127B | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-203A | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-203A | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-130 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-130 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-203A | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-203A | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-204A | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDR-204A | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SDR-203A | 2020-06-08 21:00 | 2020-06-12 11:25 | Invalid | Breakaway from storm or vandalism | AM
SLR-045 | 2020-06-06 03:00 | 2020-06-06 11:30 | Storm |  | AM
SLR-045 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
CAR-072 | 2020-06-03 06:00 | 2020-06-03 15:15 | Obstruction | confirmed by photos | AM
CAR-072 | 2020-06-26 06:00 | 2020-06-27 13:30 | Obstruction | confirmed by photos | AM
SLR-045A | 2020-06-06 03:00 | 2020-06-06 11:30 | Storm |  | AM
SLR-045A | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SLR-045B | 2020-06-06 03:00 | 2020-06-06 11:30 | Storm |  | AM
SLR-045B | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SWT-019 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SWT-030 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SWT-030I | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SWT-030 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SWT-030I | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SDG-072 | 2020-06-14 01:45 | 2020-06-16 05:40 | Obstruction | confirmed by photos | AM
SDG-072 | 2020-06-22 06:40 | 2020-06-23 12:00 | Obstruction | confirmed by photos | AM
SWT-068 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SWT-068 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SWT-162 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SWT-162 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SWT-233 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SWT-233 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SWT-235 | 2020-06-06 05:30 | 2020-06-06 11:30 | Storm |  | AM
SWT-235 | 2020-06-29 04:00 | 2020-06-29 20:00 | Storm |  | AM
SLR-095 | 2020-06-02 08:00 | 2020-06-03 03:00 | Obstruction | confirmed by photos | AM
SLR-095 | 2020-06-26 12:15 | 2020-07-01 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-06-01 | 2020-06-02 21:45 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-06-03 22:45 | 2020-06-04 05:00 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-06-08 12:40 | 2020-06-12 12:40 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-06-13 04:40 | 2020-06-14 12:40 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-06-15 11:50 | 2020-06-22 05:50 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-06-25 23:45 | 2020-06-26 05:30 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-06-26 13:45 | 2020-06-27 00:50 | Obstruction | confirmed by photos | AM
SWT-162 | 2020-06-28 20:45 | 2020-06-30 04:00 | Obstruction | confirmed by photos | AM
SWT-030 | 2020-06-11 06:00 | 2020-06-12 14:00 | Obstruction | confirmed by photos | AM
SWT-030 | 2020-06-23 21:45 | 2020-06-24 14:30 | Obstruction | confirmed by photos | AM
SWT-030 | 2020-06-28 13:30 | 2020-06-29 04:30 | Obstruction | confirmed by photos | AM
SWT-068 | 2020-06-08 10:40 | 2020-06-12 14:35 | Obstruction | confirmed by photos | AM
SWT-068 | 2020-06-16 21:35 | 2020-06-18 06:35 | Obstruction | confirmed by photos | AM
SWT-233 | 2020-06-13 14:00 | 2020-06-14 07:00 | Obstruction | confirmed by photos | AM
SDR-204A | 2020-05-13 17:30 | 2020-05-13 19:30 | Invalid | confirmed by photos. Level doesn't match with photos | AM
SDR-204A | 2020-05-15 | 2020-05-31 06:40 | Invalid | confirmed by photos. Level doesn't match with photos | AM
SDR-204A | 2020-05-31 06:45 | 2020-06-01 19:30 | Obstruction | confirmed by photos | AM
SDR-204A | 2020-06-01 19:35 | 2020-06-04 22:00 | Invalid | confirmed by photos. Level doesn't match with photos | AM
SDR-204A | 2020-06-06 18:00 | 2020-06-12 12:00 | Invalid | confirmed by photos. Level doesn't match with photos | AM
SDR-204A | 2020-06-21 16:30 | 2020-06-21 20:30 | Obstruction | confirmed by photos | AM
SDR-204A | 2020-06-26 17:30 | 2020-07-02 10:30 | Obstruction | confirmed by photos | AM
SDR-036 | 2020-06-19 01:30 | 2020-06-20 00:30 | Obstruction | confirmed by photos | AM
SDR-127 | 2020-06-15 05:00 | 2020-06-16 10:00 | Obstruction | confirmed by photos | AM
SDR-041 | 2020-06-05 06:30 | 2020-06-06 05:30 | Obstruction | confirmed by photos | AM
SDR-041 | 2020-06-06 09:00 | 2020-06-11 10:45 | Obstruction | confirmed by photos | AM
SDR-041 | 2020-06-18 05:00 | 2020-06-19 06:00 | Obstruction | confirmed by photos | AM

## SpecialOffsets
Site | Start | End | SpecialOffset_in | Neg_Level_as_ZeroFlow | Notes | Analyst
CAR-007 | 2020-05-01 | 2020-05-04 | 0 | TRUE | Level was below the v except for a period of flow | AM
CAR-059 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
CAR-059G | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
CAR-070 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
CAR-070E | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
CAR-072 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
CAR-072C | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
CAR-072R | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
CAR-072O | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
CAR-072Q | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDG-072 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDG-072A | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDG-084 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDG-084J | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDG-085 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDG-085G | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDG-085M | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-036 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-041 | 2020-06-06 11:30 | 2020-09-15 23:55 | -0.2 | TRUE | seems higher after storm event on 6/6/20 | AM
SDR-064 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-064A | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-064B | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-064C | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-064D | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-098 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-127 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-127B | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-130 | 2020-05-01 | 2020-05-26 11:30 | 0.2 | TRUE | matching up to a zero level at 5/15 16:
SDR-130 | 2020-05-26 11:35 | 2020-09-15 23:55 | 4.05 | TRUE | matching up to levels after weir was changed
SDR-203A | 2020-05-01 | 2020-05-20 14:35 | 0 | TRUE
SDR-204A | 2020-06-12 12:00 | 2020-09-15 23:55 | -0.05 | TRUE | switched to different probe | AM
SLR-095 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SLR-045 | 2020-05-22 10:00 | 2020-09-15 23:55 | 0.5 | TRUE | for whatever reason the level was tracking fine with the cal points and photos and then at this point it drops like 0.5 in for some reason
SLR-045A | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SLR-045B | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SWT-019 | 2020-05-01 | 2020-05-07 11:50 | -0.1 | TRUE | probe removed for mainteance. offsetting the first part of the data | AM
SWT-030 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SWT-030I | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SWT-068 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SWT-162 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SWT-233 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SWT-235 | 2020-05-01 | 2020-09-15 23:55 | 0 | TRUE
SDR-203A | 2020-05-20 14:40 | 2020-09-15 23:55 | -0.1 | TRUE | seems off after the breakaway was repaired. adjusting post-breakaway data | AM

## GlobalOffsets
Site | GlobalOffset_in | Notes | Analyst
CAR-007 | 0
CAR-059 | 0
CAR-059G | 0
CAR-070 | 0.05 | Level measurements matched up but flow measuremetns were higher than predicted. had to bump up levels to match measured flows | AM
CAR-070E | 0
CAR-072 | 0 | Level measurements matched up but flow measuremetns were higher than predicted. had to bump up levels to match measured flows | AM
CAR-072C | 0
CAR-072R | -0.08 | Level measurements matched up but flow measuremetns were higher than predicted. had to bump up levels to match measured flows | AM
CAR-072O | 0
CAR-072Q | 0
SDG-072 | 0
SDG-072A | -0.1 | Level measurements matched up but flow measuremetns were lower than predicted. had to bump down levels to match measured flows
SDG-084 | 0.13
SDG-084J | 0
SDG-085 | 0
SDG-085G | 0
SDG-085M | 0
SDR-036 | 0
SDR-041 | 0.18 | Level measurements matched up but flow measuremetns were higher than predicted. had to bump up levels to match measured flows | AM
SDR-064 | 0
SDR-064A | -0.01
SDR-064B | 0.02
SDR-064C | 0.4
SDR-064D | 0
SDR-098 | 0 | Level measurements matched up but flow measuremetns were higher than predicted. had to bump up levels to match measured flows | AM
SDR-127 | 0
SDR-127B | 0
SDR-130 | 0
SDR-203A | -0.015
SDR-204A | 0
SLR-095 | 0
SLR-045 | 0
SLR-045A | 0
SLR-045B | 0
SWT-019 | 0
SWT-030 | 0.1 | flow measurements are higher than predicted in many cases so bumping up flows to match measured | AM
SWT-030I | -0.2 | some high points throwing off the flow cal. Levels seem good but measured flows lower than predicted | AM
SWT-068 | 0.1 | flow measurements are higher than predicted in many cases so mostly going by level and the flows measured 5/7 | AM
SWT-162 | 0
SWT-233 | 0
SWT-235 | 0.1

## FinalOffsets
Site | CalculatedOffset_in | GlobalOffset_in | FinalOffset_in
CAR-007 | -6.68 | 0.0 | -6.68
CAR-059 | -0.26 | 0.0 | -0.26
CAR-059G | -5.25 | 0.0 | -5.25
CAR-070 | -5.75 | 0.05 | -5.7
CAR-070E | -0.96 | 0.0 | -0.96
CAR-072 | -4.57 | 0.0 | -4.57
CAR-072C | -3.25 | 0.0 | -3.25
CAR-072R | -3.74 | -0.08 | -3.82
CAR-072O | -2.45 | 0.0 | -2.45
CAR-072Q | -3.42 | 0.0 | -3.42
SDG-072 | -7.08 | 0.0 | -7.08
SDG-072A | -2.46 | -0.1 | -2.56
SDG-084 | -4.8 | 0.13 | -4.67
SDG-084J | -1.61 | 0.0 | -1.61
SDG-085 | -3.14 | 0.0 | -3.14
SDG-085G | -2.74 | 0.0 | -2.74
SDG-085M | -5.81 | 0.0 | -5.81
SDR-036 | -3.01 | 0.0 | -3.01
SDR-041 | -4.02 | 0.18 | -3.84
SDR-064 | -1.6 | 0.0 | -1.6
SDR-064A | -4.7 | -0.01 | -4.71
SDR-064B | -4.09 | 0.02 | -4.07
SDR-064C | -2.98 | 0.4 | -2.58
SDR-064D | -3.92 | 0.0 | -3.92
SDR-098 | -2.29 | 0.0 | -2.29
SDR-127 | -4.23 | 0.0 | -4.23
SDR-127B | -5.42 | 0.0 | -5.42
SDR-130 | -16.37 | 0.0 | -16.37
SDR-203A | -3.93 | -0.02 | -3.94
SDR-204A | -1.32 | 0.0 | -1.32
SLR-095 | -2.25 | 0.0 | -2.25
SLR-045 | -3.9 | 0.0 | -3.9
SLR-045A | -5.51 | 0.0 | -5.51
SLR-045B | -2.02 | 0.0 | -2.02
SWT-019 | -3.86 | 0.0 | -3.86
SWT-030 | -4.36 | 0.1 | -4.26
SWT-030I | -1.76 | -0.2 | -1.96
SWT-068 | -2.11 | 0.1 | -2.01
SWT-162 | -3.83 | 0.0 | -3.83
SWT-233 | -3.05 | 0.0 | -3.05
SWT-235 | -3.54 | 0.1 | -3.44

## MayDeliverableNotes
Site | Notes | Completed by
CAR-007 | Mostly below the v-notch (no flow) with a few large events that were mostly stormflow | AM
CAR-059 | This is being monitored with a flume. Showed mostly a modest diurnal pattern and downward trend over the month. general decline in flows after 5/20 | AM
CAR-059G
CAR-070 | Very steady baseflow with a few regular nighttime peaks. Slow trend downwards | AM
CAR-070E
CAR-072 | consistent but low baseflow with regular pattern of nightly high flows | AM
CAR-072C | lots of debris issues associated with high flow events. obstructions prevented using alot of the high flow data | AM
CAR-072R | The pipe had a crack in it behind the weir pond and was leaking out of the pipe. We repaired the pipe surface on 5/7. | AM
CAR-072O | Mostly no baseflow and regular transient peak flows | AM
CAR-072Q | Mostly no baseflow and regular transient peak flows. Bad probe connection was fixed 5/14. No data from 5/1-14 | AM
SDG-072 | Low but steady baseflow with peak flow almost every night, often showing 2 distinct events | AM
SDG-072A | Low baseflow (trickle). Nightly peaks, usually around 2am | AM
SDG-084 | high baseflow with high regular peak flows. some obstructions clipped from dataset | AM
SDG-084J | very steady baseflow, no peak flow. slight downward trend over the month | AM
SDG-085 | high baseflow with high regular peak flows | AM
SDG-085G | low to no baseflow with regular peak flows | AM
SDG-085M | steady baseflow with no peak flows | AM
SDR-036 | steady low flow trending downward. some small peaks. bad probe connection caused data loss up to 5/13 | AM
SDR-041 | steady moderate baseflow with regular peak flows. recurring peak flow at 3:30am almost daily | AM
SDR-064 | difficult to determine offset since water seeps into sand so quickly and usually dry during daytime hours. regular peak flow at 8:45pm almost every day | AM
SDR-064A | weir was leaking from 5/1-5/4 so data was removed as invalid. The regularly observed 8:45pm flow at SDR-064 is observed here so this must be the source | AM
SDR-064B | No baseflow but regular peak flows almost daily at 4am. Bad probe connection was fixed 5/13. No data from 5/1-13. | AM
SDR-064C | No baseflow but regular peak flows almost daily at 10:15pm. This site was hard to get calibration points since it was not flowing. Cracks in the pipe upstream allowed water to seep out of pond behind weir | AM
SDR-064D | data shows regular high flows but the level data is suspect and doesn't match with field observations. Its possibly a bad probe but the data looked good before analysis. Looks like after the small rain event the probe got wacky so the data was removed as invalid | AM
SDR-098 | mostly trickle or no baseflow with irregular periods of higher peak flows | AM
SDR-127 | a few obstructions where data was removed. one very large flow that doesn't appear to be storm-related on 5/11. No rain data was recorded that day and conductivity did not change. a large flow event was clipped out due to large amounts of debris in the weir but it was recorded by the upstream site on 5/19 | AM
SDR-127B | low to no baseflow with some large peaks. a large peak was observed 5/19 but could not be measured at the downstream outfall due to debris. | AM
SDR-130
SDR-203A | Possibly a pool discharge 5/11/2020 | AM
SDR-204A
SLR-095
SLR-045 | very erratic flows. Level drops below the v and sometimes flow is noticeably less at the downstream site than upstream site, indicating there is significant leakage from the conveyance. Several large non-stormwater flows were observed 5/25 and 5/29-30. these high flows were observed at SLR-045A upstream | AM
SLR-045A | low steady baseflow with erratic peaks. high flows 5/25 and 5/29 | AM
SLR-045B | steady trickle flow trending downwards with very few and small flow peaks | AM
SWT-019
SWT-030
SWT-030I
SWT-068 | Mostly high and consistent baseflow with a few high flow events | AM
SWT-162 | Lots of debris issues. A few I did not clip out since they didn't appear to affect flows (ponding) | AM
SWT-233 | Data was mostly no flow, with some obstructed flows following the 5/13 storm flow event. otherwise no flow | AM
SWT-235