## Sheet1
Site | Notes
CAR-072 | consistent but low baseflow with regular pattern of nightly high flows
CAR-072C | lots of debris issues associated with high flow events. obstructions prevented using alot of the high flow data
CAR-072R | The pipe had a crack in it behind the weir pond and was leaking out of the pipe. We repaired the pipe surface on 5/7.
CAR-072O | Mostly no baseflow and regular transient peak flows
CAR-072Q | Mostly no baseflow and regular transient peak flows. Bad probe connection was fixed 5/14. No data from 5/1-14
SDG-072 | Low but steady baseflow with peak flow almost every night, often showing 2 distinct events
SDG-072A | Low baseflow (trickle). Nightly peaks, usually around 2am
SDG-084 | high baseflow with high regular peak flows. some obstructions clipped from dataset
SDG-084J | very steady baseflow, no peak flow. slight downward trend over the month
SDG-085 | high baseflow with high regular peak flows
SDG-085G | low to no baseflow with regular peak flows
SDG-085M | steady baseflow with no peak flows
SDR-036 | steady low flow trending downward. some small peaks. bad probe connection caused data loss up to 5/13
SDR-041 | steady moderate baseflow with regular peak flows. recurring peak flow at 3:30am almost daily
SDR-064 | difficult to determine offset since water seeps into sand so quickly and usually dry during daytime hours. regular peak flow at 8:45pm almost every day
SDR-064A | weir was leaking from 5/1-5/4 so data was removed as invalid. The regularly observed 8:45pm flow at SDR-064 is observed here so this must be the source
SDR-064B | No baseflow but regular peak flows almost daily at 4am. Bad probe connection was fixed 5/13. No data from 5/1-13.
SDR-064C | No baseflow but regular peak flows almost daily at 10:15pm. This site was hard to get calibration points since it was not flowing. Cracks in the pipe upstream allowed water to seep out of pond behind weir
SDR-064D | data shows regular high flows but the level data is suspect and doesn't match with field observations. Its possibly a bad probe but the data looked good before analysis. Looks like after the small rain event the probe got wacky so the data was removed as invalid
SDR-098 | mostly trickle or no baseflow with irregular periods of higher peak flows
SDR-127 | a few obstructions where data was removed. one very large flow that doesn't appear to be storm-related on 5/11. No rain data was recorded that day and conductivity did not change. a large flow event was clipped out due to large amounts of debris in the weir but it was recorded by the upstream site on 5/19
SDR-127B | low to no baseflow with some large peaks. a large peak was observed 5/19 but could not be measured at the downstream outfall due to debris.
SLR-045 | very erratic flows. Level drops below the v and sometimes flow is noticeably less at the downstream site than upstream site, indicating there is significant leakage from the conveyance. Several large non-stormwater flows were observed 5/25 and 5/29-30. these high flows were observed at SLR-045A upstream
SLR-045A | low steady baseflow with erratic peaks. high flows 5/25 and 5/29
SLR-045B | steady trickle flow trending downwards with very few and small flow peaks
SLR-095 | The original probe installed prior to May 1 unexpectedly failed on or around May 2 but the data was not obviously bad. Following the large storm event observed by field staff on 5/ we took a closer look at the data and determined it did not match our field measurements. A second probe was installed May 28 but that probe also appears to be faulty, reading mainly negative water levels. A third probe has been installed May 30. Adequate calibration measurements have not been taken yet so we're unable to deliver quality flow data for this deliverable.

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only